## Cisco
Product | Comment | Total Qty
Spine Type 2 | N9K-C9332D-GX2B | 9
Spine Type 3 | N9K-C9336C-FX2 | 11
Leaf Type 1 | N9K-C93180YC-FX3 | 34
Leaf Type 2 | N9K-C9348GC-FXP | 27
SAN Director Type 1 | DS-C9710-V2K9 | 2
Edge Router Type 1 | C8500-12X | 2
Console Server Type 1 | C1100TG-1N24P32A | 1
LTE Router Type 1 | C1111-4PLTEEA | 2
| DS-X9648-1536K9= | 1
| DS-CAC97-3KW= | 1
Optics |  | 2232
Spine Type 2
Product | Product description | Qty
N9K-C9332D-GX2B | Nexus 9300 Series, 32p 400G QSFP-DD | 1
MODE-NXOS | Dummy PID for mode selection | 1
NXK-AF-PI | Dummy PID for Airflow Selection Port-side Intake | 1
NXOS-CS-10.2.3F | Nexus 9500, 9300 NX-OS Software 10.2.3 (64bit) Cisco Silicon | 1
NXK-ACC-KIT-1RU | Nexus 3K/9K Fixed Accessory Kit, 1RU front and rear removal | 1
NXA-SFAN-35CFM-PI | Nexus Fan, 35CFM, port side intake airflow /w EEPROM | 6
NXA-PAC-1500W-PI | Nexus 1500W PSU port-side Intake | 2
CAB-9K10A-EU | Power Cord, 250VAC 10A CEE 7/7 Plug, EU | 2
C1-SUBS-OPTOUT | OPT OUT FOR "Default" DCN Subscription Selection | 1
Spine Type 3
Product | Product description | Qty
N9K-C9336C-FX2 | Nexus 9300 Series, 36p 40/100G QSFP28 | 1
MODE-NXOS | Dummy PID for mode selection | 1
NXK-AF-PI | Dummy PID for Airflow Selection Port-side Intake | 1
NXOS-CS-10.2.3F | Nexus 9500, 9300 NX-OS Software 10.2.3 (64bit) Cisco Silicon | 1
NXK-ACC-KIT-1RU | Nexus 3K/9K Fixed Accessory Kit, 1RU front and rear removal | 1
NXA-PAC-750W-PI | Nexus AC 750W PSU - Port Side Intake | 2
CAB-9K10A-EU | Power Cord, 250VAC 10A CEE 7/7 Plug, EU | 2
NXA-FAN-65CFM-PI | Nexus Fan, 65CFM, port side intake airflow | 3
C1-SUBS-OPTOUT | OPT OUT FOR "Default" DCN Subscription Selection | 1
Leaf Type 1
Product | Product description | Qty
N9K-C93180YC-FX3 | Nexus 9300 with 48p 1/10/25G, 6p 40/100G, MACsec | 1
MODE-NXOS | Dummy PID for mode selection | 1
NXK-AF-PI | Dummy PID for Airflow Selection Port-side Intake | 1
NXOS-CS-10.2.3F | Nexus 9500, 9300 NX-OS Software 10.2.3 (64bit) Cisco Silicon | 1
C1-SUBS-OPTOUT | OPT OUT FOR "Default" DCN Subscription Selection | 1
NXK-ACC-KIT-1RU | Nexus 3K/9K Fixed Accessory Kit, 1RU front and rear removal | 1
NXA-PAC-650W-PI | Nexus NEBs AC 650W PSU - Port Side Intake | 2
CAB-9K10A-EU | Power Cord, 250VAC 10A CEE 7/7 Plug, EU | 2
NXK-MEM-16GB | Additional memory of 16GB for Nexus Switches | 1
NXA-FAN-35CFM-PI | Nexus Fan, 35CFM, port side intake airflow | 4
Leaf Type 2
Product | Product description | Qty
N9K-C9348GC-FXP | Nexus 9300 with 48p 100M/1GT, 4p 10/25G & 2p 40/100G QSFP28 | 1
MODE-NXOS | Dummy PID for mode selection | 1
NXK-AF-PI | Dummy PID for Airflow Selection Port-side Intake | 1
NXOS-CS-10.2.3F | Nexus 9500, 9300 NX-OS Software 10.2.3 (64bit) Cisco Silicon | 1
NXK-ACC-KIT-1RU | Nexus 3K/9K Fixed Accessory Kit, 1RU front and rear removal | 1
NXA-PAC-350W-PI | Nexus NEBs AC 350W PSU - Port Side Intake | 2
CAB-9K10A-EU | Power Cord, 250VAC 10A CEE 7/7 Plug, EU | 2
NXA-FAN-30CFM-B | Nexus Fan, 30CFM, port side intake airflow | 3
C1-SUBS-OPTOUT | OPT OUT FOR "Default" DCN Subscription Selection | 1
SAN Director Type 1
Product | Product description | Qty
DS-C9710-V2K9 | MDS 9710 V2 Base Config: Chassis, 2 Sup-4, 3 Fab-3, 4 3KAC | 1
CAB-9K16A-EU | Power Cord 250VAC 16A, Europe, Src Plug CEE 7/7 | 4
DS-CAC97-3KW | MDS 9700 3000W AC power supply | 4
DS-X9710-FAB3 | MDS 9710 Crossbar Switching Fabric-3 Module | 3
DS-9710-KIT-CCO | MDS 9710 Accessory Kit for Cisco | 1
DS-C9700-LC-BL | Blank Filler Card for Line Card slot in MDS9700 Chassis | 7
DS-C9700-PS-BL | Blank Filler Card for Power Supply slot in MDS9700 Chassis | 4
DS-X97-SF4-K9 | MDS 9700 Series Supervisor-4 | 2
DS-X9648-1536K9 | MDS 9700 48-Port 32-Gbps Fibre Channel Switching Module | 2
M97S4K9-9.2.2 | MDS 9700 NX-OS Software Release 9.2.2 for Sup-4 | 1
Edge Router Type 1
Product | Product description | Qty
C8500-12X | Cisco Catalyst 8500-12X Edge Platform | 1
EDGE-INTERNET | Internet Gateway (Internet Edge Peering BGP, NAT, ZBFW) | 1
C8500-RFID-1R | Cisco C8500 RFID - 1RU | 1
MEM-C8500-64GB | Cisco C8500 64GB DRAM | 1
MEMUSB-8GB | 8GB USB Flash Token | 1
SSD-M2SATA-480G | C8500 480 GB, M2 SATA SSD | 1
C8500-ACCKIT-19 | Cisco C8500 Accessory Kit - 19" rack | 1
NETWORK-PNP-LIC | Network Plug-n-Play Connect for zero-touch device deployment | 1
C8000-HSEC | U.S. Export Restriction Compliance license for C8000 series | 1
TE-R-SW | TE agent for IOSXE on Enterprise Routing | 1
SC8KAEPUK9-179 | C8500 Series - UNIVERSAL | 1
IOSXE-AUTO-MODE | IOS XE Autonomous or SD-Routing mode for Unified image | 1
PWR-CH1-750WACR | Cisco C8500/CW9800 750W AC Power Supply | 2
CAB-C13-C14-2M | Power Cord Jumper, C13-C14 Connectors, 2 Meter Length | 2
Console Server Type 1
Product | Product description | Qty
C1100TGX-1N24P32A | Cisco 1100 Term Gateway w/ 32 Async,24-Port, 1 NIM (8G) | 1
SL-1100TG-IPB-K9 | IP Base License for Cisco 1100 Series Terminal Gateway | 1
PWR-1100TG-AC | AC Power Supply for Cisco 1100 Term Gateway | 1
C1100TG-16A | 16-port Async Module for Cisco 1100 Term Gateway | 1
ACS1100TG-RM19 | Rack Mount Kit for Cisco 1100TG | 1
CAB-ASYNC-8 | Async cable | 1
C1100TG-BRA | Async Bracket for Cisco 1100TG | 1
CAB-ACE | AC Power Cord (Europe), C13, CEE 7, 1.5M | 1
PWR-4320-AC | AC Power Supply for Cisco ISR 4320 | 1
CAB-AC-C5-EUR | AC Power Cord, Type C5, Europe | 1
SC1100TGUK9-176 | UNIVERSAL | 1
NIM-LTEA-EA | CAT6 LTE Advanced NIM for Europe and North America | 1
FW-7455-LTE-GN | FW Switching Load for 7455 Generic - Europe | 1
4G-ANTM-OM-CM | Multi-Band Indoor Omni-Directional Antenna - Ceiling Mount | 1
LTE-ANTM-D | LTE articulating dipole antenna 698-960,1448-1511,1710-2690 | 2
4G-AE010-R | Single Unit antenna Extension Base (10 foot cable included) | 2
LTE-ANTM-D | LTE articulating dipole antenna 698-960,1448-1511,1710-2690 | 2
LTE Router Type 1
Product | Product description | Qty
C1111-4PLTEEA | ISR 1100 4P Dual GE Ethernet w/ LTE Adv SMS/GPS EMEA & NA | 1
PWR-66W-AC-V2 | Power Supply 66 Watt AC V2 for C890 and C1100 series | 1
EM7455-LTEA-EA | LTE Advanced EM7455 Europe and North America | 1
LTE-ANTM-D | LTE articulating dipole antenna 698-960,1448-1511,1710-2690 | 2
SL-1100-4P-IPB | IP Base License for Cisco ISR 1100 4P Series | 1
SL-1100-4P-SEC | Security License for Cisco ISR 1100 4P Series | 1
CAB-C13-C14-2M | Power Cord Jumper, C13-C14 Connectors, 2 Meter Length | 1
4G-ANTM-OM-CM | Multi-Band Indoor Omni-Directional Antenna - Ceiling Mount | 1
ACS-1100-RM-19 | Cisco 1100 Series Router Rackmount Wallmount Kit | 1
SISR1100UK9-179 | Cisco ISR1100 Series IOS XE - UNIVERSAL | 1
FW-7455-LTE-GN | FW Switching Load for 7455 Generic - Europe | 1
ISR1K2P4P-HSECK9 | IPSEC HSEC License for Cisco ISR 1100 2P 4P Series | 1
Cables, Optics
Product | Product description | Qty
QDD-400G-DR4-S | 400G QSFP-DD Transceiver, 400GBASE-DR4, MPO-12,500m parallel | 66
QSFP-100G-DR-S | 100G QSFP28 Transceiver 100GBASE-DR, 500m SMF, duplex, LC | 452
QSFP-100G-SR4-S | 100GBASE SR4 QSFP Transceiver, MPO, 100m over OM4 MMF | 12
QSFP-100G-CU3M | 100GBASE-CR4 Passive Copper Cable, 3m | 36
SFP-25G-SR-S | 25GBASE-SR SFP Module | 1396
DS-SFP-FC16G-SW | 16 Gbps Fibre Channel SW SFP+, LC | 100
DS-SFP-FC32G-SW | 32 Gbps Fibre Channel SW SFP+, LC | 100
QSFP-4SFP10G-CU3M | 40GBASE-CR4 QSFP to 4 10GBASE-CU SFP+ direct-attach breakout cable, 3-meter, passive | 8
QSFP-4X10G-AOC10M | 40GBase-AOC QSFP to 4 SFP+ Active Optical breakout Cable, 10-meter | 8
SFP-10G-SR | 10GBASE-SR SFP Module | 54